## Table 1 (2)
S. no | Section | WBS No | Descpration | Services Cost | Date of Sanction | Payment Received
1 | Alampur | F-2022-45-01-13-01-002 | Estimate for erection of 1No.Sph 25KVA DTR on 11KV Kyathur feeder eminating from 33/11KV SS Bheemvaram SS to electrification of 20Nos.LT Cat-I each 1.0 KW at 2BHK,at sy.no 427 beside PHC Kyathur Village in Operation section Alampur in Operation Circle Gadwal. | 114390 | 30.01.2023 | 13.04.2023
2 | Alampur | A-0649-45-01-13-01-011 | Estimate for erection of 25KVA DTR for releasing 3Nos AGL services each 5Hp (3*5Hp=15HP) to 1)Sri. Boya Krishnaiah S/o. Boya Ramesh Sy.No.73/D, 2)Sri. Boya Nagamuni Naidu S/o Boya Hanumanna Sy.No.70/D, 3)Sri. Ediga Raman Goud S/o Ediga Chandraiah Goud SY. NO. 13/B1 at Thakkasila(V)in Operation section Alampur in Operation Circle Gadwal. | 277404 | 14.02.2023 | 03.04.2023
3 | Alampur | A-0649-45-01-13-01-012 | Estimate for erection of 25KVA DTR for releasing 4Nos AGL services each 5Hp (4*5Hp=20HP) to 1) Sri A. Raghuvardhan Reddy S/o A. Krishna Reddy Sy.No.9/B, 2)Sri M. Ratnamaiah S/o M.Beesanna Sy.No.4/A1,3)Smt.Lakkam Janakamma W/o Lakkam Govas SY. NO.5/2/1, 4)Sri K.Jagadeedh Reddy S/o Narshimha Reddy at Sherupally Vg in Operation section Alampur in Operation Circle Gadwal. | 258050 | 14.02.2023 | 17.02.2023.
4 | Shantinagar | T-2231-45-01-13-04-001 | Erection of 1.0KM 33KV interlinking line proposed between between 33KV Shanthinagar 1 feeder and 33 Shanthinagar II feeder with 4no's new 33KV AB swithches to minimize the frequent trippings on 33KV Shanthinagar-Ifeeder in operation section Shantinagar in Operation Circle Gadwal. | 209437 | 21.03.2023 | 21.03.2023 | 8
5 | Shantinagar | A-0427-45-01-13-04-207 | Erection of 1No 2X25KVA (3Ph)DTRs for releasing of 6Nos 5HP agl loads(6X5HP=30HP)to 1)Gattu Pedda Eranna S/o G.Marappa, Sy No:52/B, 2)Gadumuru Chittamma W/o G.Prasad Sy No: 52/B4/1, 3)Boya Gattu Chinna Eranna S/o B.Marappa Sy No: 52/B3, 4)Marakurap Marappa, S/o M.Pedda Maranna, Sy No:128/C,5) Gantapogu Bhaskar S/o G.Pedda Madanna, Sy.No.128/B/E, 6) Gantapogu Prasanthi W/o G.Hanumanthu Sy.No.52/BU/2 at Mandoddy Village in Operation section Shantinagar in Operation Circle Gadwal. | 113743 | 02.05.2020 | 11.02.2022
6 | Gadwal Town | C-0810-45-07-01-01-001 | Construction of New Gate to existing Compound wall and raising of existing compound wall at New circle office Building of Gadwal Circle. | 248796 | 23.12.2022. | 23.12.2022
7 | Dharoor | E-2019-45-01-11-03-010 | Estimate Proposal for erection of 4Nos 3*25KVA S-Ph DTRs and erection of 7.1KM 11KV line and 6.56KM LT 3Ph 5Wire Line at Ryalampadu R&R Center in Dharoor Section in Operation Circle Gadwal. | 785170 | 27.03.2023 | 12.04.2023 | 1
8 | Shantinagar | T-2123-45-01-13-04-008 | Erection of 1No. S-Ph DTR on existing S-Ph 25KVA DTR(STR CODE: 1459007078) in Jullakal Vg in Waddepally (M)in operation Section Shantinagar in Operation Circle Gadwal. | 109947 | 23.03.2023 | 23.03.2023 | 9
9 | Shantinagar | Y-2022-45-01-13-04-003 | Estimate proposal for Shifting of 2.2KM 11KV Line and Shifting of 2 nos 100 KVA DTR on 11KV Shanthinagar Town Feeder due to construction of divider and development of main road in Shanthinagar Town, Waddepally (M),represented by Muncipality Commissioner , Shanthinagar Town in Shantinagar Section in Operation Circle Gadwal. | 605714 | 26.10.2022. | 13.04.2023
10 | Maldakal | A-0594-45-01-12-03-045 | Estimate for erection of 1 Nos 25 KVA DTR for releasing of 8 Nos Agriculture services each 5 HP (8x5=40HP) of 1)Sri. Nalanna S/o Hanmanna Sy No.561/2,2)Smt Govidamma S/o C. Anjaneyulu Sy No 547/28/,3)Sri P. Anjaneyulu S/o Nallanna Sy No 468/5 4)M.C. Anjaneyulu S/o Nallanna Sy No.468/6 5)Smt Govidamma S/o C Anjaneyulu Sy No 547/28/1 6)Sri.Thimanna S/o Nallanna Sy No. 468/3 7)Sri. Venkateshwarulu S/o Nallanna Sy No 468/4,8)Maggam Anjaneyulu S/o C Thimanna Sy. No 561/5,Uligapally Village of in Maldakal SectionOperation Circle Gadwal. | 110326 | 29.11.2021 | 29.11.2021

## Sheet1
27617.05
25485.93
61286.95
114389.93

## Sheet2
125568.69 | 125580.69 | 66759.62 | 128854 | 22469 | 499414.31
95279.23 | 79743.32 | 21351.35 | 339750 | 11285.44 | 106299.7
56555.3 | 52725.79 | 25631.8 | 316566.2 | 76192
277403.22 | 258049.8 | 113742.77 | 785170.2 | 109946.44 | 605714.01